## Slide 1
Mean number of paired, normalized concentration and temperature values (1-hr averages) | 
Mean number of paired, normalized concentration and relative humidity values (1-hr averages) | 
Deployment Details
Testing Organization and Site Information | 
Testing organization (Name, Organization type, Contact website) | 
Testing location (City, State, Latitude and Longitude) | 
AQS site ID | 
Sampling timeframe (MM-DD-YY) | 
Sensor data source | 
Reference data source | 
Time Series Plots
Performance Metrics
Scatter Plots: Comparison to FRM/FEM
Meteorological Conditions During Deployment
Meteorological Influence
FRM/FEM Information | 
Manufacturer, model, designation | 
Sampling time interval | 
Date of calibration | 
Date of flowrate verification check | 
Description, date(s) of maintenance activities | 
1
For evaluations with greater than three sensors, grouping individual sensor metrics into boxplots is recommended for displaying results. Note that this recommendation does not apply to metrics computed as a single value for all sensors over the whole evaluation group, such as RMSE, NRMSE, CV, and standard deviation.
Sensor-FRM/FEM Accuracy
Sensor-Sensor Precision
Number of 24-hr periods outside sensor manufacture-listed temperature operational range (no operational range specified) | 
Number of 24-hr periods outside sensor manufacture-listed relative humidity operational range (no operational range specified) | 
Range of FRM/FEM concentrations over duration of base test (μg/m3) | 
Number of 24-hr periods in FRM/FEM monitor measurements with a goal concentration ≥ 25 μg/m3 | 
Sensor Information |  |  | 
Manufacturer, model |  |  | 
Device firmware version |  |  | 
Sampling time interval |  |  | 
Sensor serial numbers |  |  | 
Issues encountered during deployment? |  | Brief summary of issues | 

## Slide 2
  Additional documentation may be attached or linked to digital versions alongside this report. Such documentation may include field reports and observations during the testing period, maintenance logs for sensors and FRM/FEM monitors, standard operating procedures, and other documentation relevant to this testing report (see below for examples).
Supplemental Information
Supplemental Documentation | Attached | Description & URL or file path to documentation
Field observations |  | 
Maintenance logs |  | 
Standard operating procedure(s) |  | 
Photos of equipment setup and testing |  | 
Product specifications sheet(s) |  | 
Product manual(s) |  | 
Deployment issues |  | 
Data storage and transmission method |  | 
Data correction approach |  | 
Data analysis/correction scripts and version |  | 
Air Monitoring Station QAPP |  | 
Summary of FRM/FEM monitor QC checks |  | 
Other documents |  |